Fulton County Health Department

125 E 9th St.	                          Rochester, IN  46975	(574) 223-7730

David Kevin Reyburn, MD                   Health Officer	                      Fax (574) 223-2335

wdyson@co.fulton.in.us

Re: Onsite Sewage Disposal System

Policy for Connection to a Holding Tank

The purpose of this policy is to outline the procedures the Environmental Specialist will follow to determine whether or not the Health Department will grant a property owner’s request to connect to a holding tank.

All criteria below must be met to be considered for a holding tank operating permit.

- The holding tank will be treated like a septic tank in relation to separation distances, riser requirements, and inlet baffle requirements.

- The holding tank must be installed by a registered installer.

- The holding tank is required to have at least a three (3) day holding capacity. (3 x daily dose volume)

- The holding tank is required to have an alarm, audio and visual, set at 95% capacity. The alarm’s electric may also need to be inspected by the building inspector.

- The owner of the holding tank is required to have a contract with a septage pumper for regular services. The receipts of such services must be submitted to the Health Department.

- The holding tank will be installed under an operating permit with a one (1) year term. With a yearly inspection of the tank by the Health Department. Failure to renew the operating permit will result in a health order upon the property.